Radius Track Corporation

3340 Winpark Drive

Minneapolis, MN 55427

Phone: (888) 872-3487

Phone: (763) 795-8885

Fax: (763) 795-8884

E-mail: info@radiustrack.com

www.radiustrack.com

This specification conforms to the Construction Specifications Institute (CSI) Project Resource Manual (PRM), including MasterFormatTM, SectionFormatTM and PageFormatTM. Optional text is indicated by brackets [ ]; delete optional text in final copy of specification. Specifier Notes typically precede specification text; delete notes in final copy of specification. Trade/brand names with appropriate symbols typically are used in Specifier Notes; symbols are not used in specification text. Metric conversion, where used, is soft metric conversion.

This document specifies Curved Cold-Formed Metal framing Products as manufactured by Radius Track Corporation by performance and by proprietary methods. Edit proprietary information as instructed in specifier notes to produce a performance based specification.

Revise the specification section number and title below to suit project requirements, specification practices and section content. Refer to CSI MasterFormat for other section numbers and titles.

SECTION 05 40 00 - COLD-FORMED METAL FRAMING

GENERAL

SUMMARY

Section Includes:

Cold-formed metal framing for [walls] [floors] [roofs] [ceilings] [and] [soffits].

Custom curved metal framing for curved [walls,] [vaults,] [domes,] [arches,] [reflectors,] [and] [curved headers].

Related Requirements:

Section 04 20 00 "Unit Masonry" for veneer wall ties fastened to metal framing.

Section 06 10 53 "Miscellaneous Rough Carpentry" for wood blocking and nailers fastened to metal framing.

Section 06 16 00 "Sheathing" for exterior wall sheathing and roof sheathing.

Section 07 21 00 "Thermal Insulation" for insulation installed within metal framing.

Section 09 21 16 "Gypsum Board Shaft Wall Assemblies" for shaft wall metal framing.

Section 09 22 16 "Non-Structural Metal Framing" for gypsum board partitions and ceilings metal framing.

Section [______] "[_______]" for exterior finishes applied to metal framing.

Section [______] "[_______]" for interior finishes applied to metal framing.

DEFINITIONS

Arch Assemblies:  An assembly of curved and straight framing members including track or stud or both to form a curved-in-elevation framing member.

Curved Headers:  An assembly of curved framing members including track or stud or both to form a curved-in-plan framing member.

REFERENCE STANDARDS

American Iron and Steel Institute:

AISI S100 - North American Specification for the Design of Cold-Formed Steel Structural Members.

AISI S200 - North American Standard for Cold-Formed Steel Framing - General Provisions.

AISI S210 - North American Standard for Cold-Formed Steel Framing - Floor and Roof System Design.

AISI S211 - North American Standard for Cold-Formed Steel Framing - Wall Stud Design.

AISI S212 - North American Standard for Cold-Formed Steel Framing - Header Design.

AISI S213 - North American Standard for Cold-Formed Steel Framing - Lateral Design.

ASTM International:

ASTM A 780 - Standard Practice for Repair of Damaged and Uncoated Areas of Hot-Dip Galvanized Coatings.

ASTM A 1003/A 1003M - Standard Specification for Steel Sheet, Carbon, Metallic- and Nonmetallic-Coated for Cold-Formed Framing Members.

ASTM C 955 - Standard Specification for Load-Bearing (Transverse and Axial) Steel Studs, Runners (Tracks), and Bracing or Bridging for Screw Application of Gypsum Panel Products and Metal Plaster Bases.

ASTM C 1513 - Standard Specification for Steel Tapping Screws for Cold-Formed Steel Framing Connections.

ASTM E 329 - Standard Specification for Agencies Engaged in Construction Inspection and/or Testing.

American Welding Society:

AWS D1.1/D1.1M - Structural Welding Code - Steel.

AWS D1.3/D1.3M - Structural Welding Code - Sheet Steel.

Green Seal:

GS GC-03 - Anti-Corrosive Paints.

SSPC: The Society for Protective Coatings:

SSPC Paint 20 - Zinc-Rich Primers (Type I - Inorganic and Type II - Organic).

Steel Stud Manufacturers Association:

SSMA Product Technical Information.

PREINSTALLATION MEETINGS

When requiring fabricator to attend preinstallation conference, consider allowing conference to be conducted by means other than physical meeting.

Preinstallation Conference:  Conduct conference at [Project site] [electronic meeting] [other mutually agreeable means].

Include option in paragraph below when shop fabricated or curved assemblies are specified in this section.

Conduct preinstallation meeting to verify project requirements [and fabricator's installation instructions].

ACTION SUBMITTALS

Product Data: Submit for each product and accessory. Indicate the following:

Material.

Finish.

Size.

Construction.

Structural capacity.

LEED Submittals:

LEED submittals are required for projects that are registered to be certified under the Leadership in Energy and Environmental Design (LEED) green building certification program created by the United States Green Building Council (USGBC).  Additional innovation in design credits for advanced framing may be possible by requiring metal framing to be engineered and fabricated to minimize material use and waste.

Credit MR 4 Recycled Content:  Submit documentation of total recycled material content separated by postconsumer and preconsumer recycled content.  Indicate cost of products having recycled content.

Credit MR 5 Local and Regional Materials:  Submit documentation indicating location where products were extracted, harvested or recovered, as well as manufactured.  Indicate each distance of each location from project site in miles (kilometers).

Credit IEQ 4.1 Low Emitting Materials - Sealants and Adhesives: Submit documentation indicating VOC content for each sealant and adhesive.

Credit IEQ 4.2 Low Emitting Materials - Paints and Coatings: Submit documentation indicating VOC content for each interior paint and coating.

Shop Drawings:

Fabricators furnish shop drawings using more than 2D dimensional drawings to demonstrate compliance with design intent, especially when required to represent complex shapes.

Submit [2D dimensioned drawings] [3D model] [other media as appropriate] with placement details.  Include the following:

Framing layout, size, metal thickness [and each factory fabricated panel].

Framing marks used to identify location of each framing member.

Fastening, welding, and anchorage details.

Framed openings.

Reinforcing, bridging, bracing, movement joints, and attachment to adjacent construction.

Connections to supporting structure.

Delegated-Design Submittal:  For cold-formed metal framing [signed and sealed by professional engineer], suitable for submission to authority having jurisdiction.

When fabricator is responsible for delegated design, include shop drawings as part of the delegated design submittal to ensure sufficient documentation for submission to authority having jurisdiction to complete building permit process.

Include shop drawings as specified in this section.

Include structural design calculations.

Indicate magnitude and location of loads applied to supporting structure.

INFORMATIONAL SUBMITTALS

Qualification Data:  For installer, manufacturer, and fabricator.

Product Certificates:  For each type of listed product indicating materials and structural properties.

Anchors.

Fasteners.

Deflection clips.

Mill Certificates: For sheet steel used to manufacturer framing members including metal thickness, [coating type and thickness,] yield strength, tensile strength, and total elongation.

Welding Certificates: For welders and procedures.

Product Test Reports:  For representative curved framing members, for tests performed by a qualified independent testing agency.

Indicate allowable structural capacity of framing members used for structural design.

Indicate restrictions on interpolation and extrapolation of testing results to other curved framing configurations.

Manufacturer's Installation Instructions: For each product and accessory.

Retain the following paragraph and subparagraphs when custom curved framing assemblies are required for the project.

Fabricator's Installation Instructions:

Parts listing (packing list).

Framing documents showing stud and track name, orientation, and direction.

Starting and ending coordinates for each component.

QUALITY ASSURANCE

Qualifications:

Installer Qualifications: Company experienced in performing work of this section who has specialized in installation of work similar to that required for this project.

Retain option below when creating a performance specification to ensure quality of metal framing.  Coordinate requirement to be SSMA member with list of manufacturers specified in Part 2 of this section.  When additional manufacturers are specified, SSMA membership requirement should be deleted.

Manufacturer Qualifications: Company experienced in manufacturing products specified in this section with capacity to produce and deliver required products without causing delay in work [and current member of Steel Stud Manufacturers Association].

Fabricator Qualifications:  Company experienced in [curving] [and] [factory assembling] metal framing for field erection with demonstrated ability to fabricate products within specified tolerances.

Retain professional engineer qualifications when Contractor is responsible for providing structural design for cold-formed metal framing.

Professional Engineer Qualifications: Structural engineer experienced in design of Work specified as delegated design and licensed [at Project location] [in State of [________]] and employed by [manufacturer] [or] [fabricator].

Retain testing agency qualifications when specifying curved metal framing to provide independent basis for reporting structural capacity of curved framing members.

Testing Agency Qualifications:  Qualified according to ASTM E 329 for testing indicated.

Welder and Welding Procedure Qualifications:  AWS D1.3/D1.3M qualified within previous 12 months.

Product Sources:

Furnish cold-formed metal framing products from single manufacturer.

Furnish curved cold-formed metal framing products from single fabricator.

Retain the following paragraph only when mockups are required.

Mockups:  Build mockups to set quality standard for fabrication and installation.  [Accepted mockups may remain as part of Project.]  Build the following mockups [as indicated on Drawings].

When mockups are not shown on drawings, expand descriptions to indicate size, scope, and extent of required mockups.

Typical exterior wall panel.

Typical curved wall panel.

DELIVERY, STORAGE, AND HANDLING

Delivery and Acceptance:

Verify components are bundled, banded and delivered in fabricator's packaging[, unless factory fabricated as panels].

Unpack and inspect metal products. Report damage and missing components immediately.

Storage and Handling:

Store materials protected from exposure to harmful environmental conditions and at temperature and humidity conditions instructed by the manufacturer.

Packaging Waste Management:

Remove packaging materials from site and dispose of at appropriate recycling facilities.

Collect and separate for disposal [wood spacers] [wood pallets] [metal strapping] and other recyclable packaging materials.

Store collected packaging materials in [appropriate onsite bins] [_____] for recycling.

PRODUCTS

MANUFACTURERS

Delete the following paragraph and subparagraphs naming specific manufacturers when creating a performance specification.  Rely on product requirements to control product quality.

Manufacturer List:  Furnish products by one of the following:

For manufacturing locations, visit www.ssma.com to see SSMA member list.

Allsteel & Gypsum Products Inc.

California Expanded Metal Products Co.

ClarkWestern Building Systems Inc.

Consolidated Fabricators, Corp.

Craco Manufacturing, Inc.

Custom Stud, Inc.

Design Shapes in Steel.

Dietrich Industries, Inc.

Frametek Steel Products

Marino\Ware.

MBA Building Supplies, Inc.

Olmar Supply Inc.

Quail Run Building Materials, Inc.

SCAFCO Corporation	.

Southeastern Stud & Components, Inc.

Steel Construction Systems.

Steeler Inc.

Telling Industries, LLC.

The Formetal Co., Inc.

The Steel Network.

United Metal Products, Inc.

United Steel Manufacturing.

[____________________].

PERFORMANCE / DESIGN CRITERIA

Delegated Design:  Engage a qualified professional engineer to design cold-formed metal framing.

Select option below to indicate where structural design criteria are indicated.  For delegated design, the Architect or Engineer must provide sufficient design criteria to Contractor to complete the design.

Structural Performance:  Provide cold-formed metal framing capable of withstanding design loads and condition indicated below:

Design Loads: As indicated on Drawings.

Include paragraph above or the paragraphs below to specify design loads.

Floor and Roof Loads: Design [________] to resist [live] and [dead] loads with [1/360] [1/240] [________] maximum deflection.

Live Loads: [As indicated on Drawings.]

Include paragraph above or one or both of the two paragraphs below to specify live loads.

Floor Live Loads: [________] psf ([________] kPa).

Roof Live Loads: Minimum [________] psf ([________] kPa).

Roof Snow Loads: As calculated in accordance with [applicable code] [and] [ASCE 7] with [________] psf ([________] kPa) ground snow load and exposure [________], and snow importance factor [________], with allowance for drifting.

Dead Loads: Actual weight of materials incorporated into Work.

Select deflection limit consistent with building enclosure and finish materials supported by metal framing.  The first option is suitable for masonry veneers.  The second option is suitable for cement plaster and gypsum board.  The third option is suitable for metal panels.

Wind Loads: Design and size components to withstand positive and negative wind loads acting normal to plane of wall, including increased loads at building corners [and roof edges] with [1/720] [1/360] [1/240] [________] maximum deflection..

Design Wind Load: As calculated in accordance with [applicable code] [and] [ASCE 7] with [________] mph ([________] km/hr) basic wind speed, exposure [________], and wind importance factor [________].

Include paragraph above or the paragraph below to specify wind loads.

Design Wind Load: To design pressure of [________] psf ([________] kPa).

Seismic Loads: Design and size components to withstand seismic loads and sway displacement as calculated in accordance with [applicable code] [and] [ASCE 7].

Seismic Design Category:  [________].

Seismic Relative Displacement:  [________].

Occupancy Category:  [________].

Thermal Movement: Design to provide for movement of components without damage, failure of joint seals, undue stress on fasteners, or other detrimental effects when subject to seasonal and cyclic day/night temperature range.

Temperature Range:  120 deg F (67 deg C), ambient, minimum.

Tolerances and Movement:  Design system to accommodate construction tolerances, deflection of building structural members, and clearances of intended openings.

Design Standards:  Comply with the following.

Retain paragraphs above and subparagraphs below for delegated design to suit project requirements.

Floor and Roof Systems:  AISI S210.

Wall Studs:  AISI S211.

Headers:  AISI S212.

Lateral Design:  AISI S213.

Cold-Formed Metal Framing:  Comply with the following:

AISI S100.

AISI S200.

ASTM C 955.

SSMA Product Technical Information.

COLD FORMED METAL FRAMING

Select grade required for application. Grade designations indicate yield strength in ksi (MPa).

Steel Sheet: ASTM A 1003/A 1003M; Structural Grade, Type H, [metallic coated:] [painted metallic coated:]

Grade: [ST33H (ST230H)] [ST50H (ST340H)] [As required by performance requirements].

Select metallic coating required for application. Selection determines applicable standard for coated steel material; separate standard reference is not required. Coatings are hot-dipped galvanized using pure zinc.  First option below is standard.  The second option is available when used in more corrosive environments.

Coating: [G60 (Z180)] [G90 (Z275)].

Studs:  Steel sheet, formed to C-shape, [solid] [punched] [________] web, [smooth faces] [knurled faces].

Metal thickness options refer to common mil thickness designators 33, 43, 54, and 68 and obsolete 20, 18, 16, and 14-gage designations.

Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)].

Web Depth:  [As indicated on Drawings] [As required by structural performance] [[_______] inches ([________] mm)].

Flange Width:  [1-1/4 inches (31 mm)] [1-3/8 inches (34 mm)] [1-5/8 inches (41 mm)] [2 inches (51 mm)] [2-1/2 inches (63 mm)], minimum.

Retain paragraph below only when Contractor is not responsible for delegated design.

Section Properties:

Section Modulus:  [________].

Moment of Inertia:  [________].

Allowable Bending Moment:  [________].

Joists, [Rafters,] [Girts,] [and,] [Purlins]:  Steel sheet, formed to C-shape, [solid] [punched] [________] web, [smooth faces] [knurled faces].

Metal thickness options refer to common mil thickness designators 33, 43, 54, and 68 and obsolete 20, 18, 16, and 14-gage designations.

Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)].

Web Depth:  [As indicated on Drawings] [As required by structural performance] [[_______] inches ([________] mm)].

Flange Width:  [1-5/8 inches (41 mm)] [2 inches (51 mm)] [2-1/2 inches (63 mm)], minimum.

Retain paragraph below only when Contractor is not responsible for delegated design.

Section Properties:

Section Modulus:  [________].

Moment of Inertia:  [________].

Allowable Bending Moment:  [________].

Track:  Steel sheet, formed to channel shape; same nominal width as studs, tight fit.

Metal thickness options refer to common mil thickness designators 33, 43, 54, and 68 and obsolete 20, 18, 16, and 14-gage designations.

Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)].

Track Flange Width:  [1-1/4 inches (32 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)], minimum.

Joist, [Rafter,] [Girts,] [and,] [Purlin] Track Flange Width: [1-1/4 inches (32 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)], minimum.

Deflection Track:  As specified for stud track; to accommodate [________] inches ([________] mm) maximum deflection.

Single Deflection Track:  Extended flange width [with slots] [without slots] to retain studs at maximum and minimum deflection.

Double Deflection Track:  Outer track with extended flange width to retain studs at maximum and minimum deflection and inner track with minimum 1 inch (25 mm) flange width.

Furring Channel: Hat shaped.

Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)].

Channel Depth: [As indicated on Drawings] [1-1/2 inches (38 mm)] [7/8 inches (22 mm).

Vertical Deflection Clips: [Bypass] [Head] type capable of transferring wind loads to building structure while accommodating vertical displacement of building structure.

Bracing, Furring, Bridging: Formed sheet steel, [thickness determined by performance requirements] [[________] inch ([________] mm) thick].

Plates, Gussets, Clips: Formed sheet steel, [thickness determined by performance requirements] [[________] inch ([________] mm) thick].

FABRICATION - GENERAL

Fabricate cold-formed metal framing square, planar, and true to line with secure connections in accordance with AISI standards and manufacturer's instructions.

Cut framing by sawing or shearing.

Secure framing members by fastening or welding.

Reinforce and brace fabrications to permit shipping, handling, and installation without permanent distortion.

Label each framing member to match identification marks shown on shop drawings.

Fabrication Tolerances:  Fabricate panels with the following maximum allowable tolerances.

Framing Spacing within Panel: Plus or minus 1/8 inch (3 mm) from indicated location.

Square: 1/4 inch (6 mm) maximum deviation in length of panel diagonal dimensions.

Warp:  1/4 inch in 10 feet (1:480) and 1/4 inch (6 mm) maximum deviation from plane along panel diagonal.

Overall Dimension:  Plus or minus 1/8 inch (3 mm) in each dimension.

FABRICATION - CURVED COLD-FORMED METAL FRAMING

Delete the following paragraph and subparagraphs naming specific fabricators when creating a performance specification.  Rely on fabrication requirements to control product quality.

Fabricators:  Furnish curved cold-formed metal framing fabricated by one of the following:

Radius Track Corporation: 3340 Winpark Drive, Minneapolis, MN 55427; Telephone: (888) 872-3487, (763) 795-8885; Fax: (763) 795-8884; E-mail: info@radiustrack.com; website: www.radiustrack.com.

Custom form components by computer controlled bending, crimping, or rolling of metal framing and track to produce uniform curves indicated on Drawings or 3D models using uninterrupted, continuous metal profiles with structural capacity to meet performance requirements.

Select type of custom curving required for project conditions.  When multiple types are required create a listing indicating the types and the applications for each.

Curve Type: [Standard bend] [Curve - Leg in] [Curve - Leg out] [Curved angle - Leg in] [Curved angle - Leg out] [Custom as indicated on Drawings].

Compound Shapes: Combinations of several of the above curves, including S-bends.

Fabricator to determine curve type to meet design intent.

Arc radius is limited by framing metal thickness, flange width, web depth, and yield strength.  Consult fabricator for limitations for each configuration.

Arc Radius:  [________] feet ([_______] mm).

Arc Length along Radius:  [________] feet ([_______] mm).

Cut Lengths:

Furnish as stock lengths to be field cut to length required.

Retain the paragraph above for field cut and fabricated framing.  Retain the paragraph below for shop cut and fabricated framing.  Shop cutting and fabrication will help ensure better quality control and assembled framing tolerances.

Furnish shop cut to length required.

Splices:

Maximum Spacing:  [10 feet (3050 mm)] [20 feet (6100 mm)] [30 feet (9150 mm)].

Retain the paragraph above when framing member splices are permitted or paragraph below when splices are not permitted.  Maximum practical length for framing members is 40 feet (12,200 mm).  Splices require overlapping members or additional material to complete the splice.  The result may telegraph through the finish causing uneven surface appearance.

Splices not permitted.

Markings:

Factory mark curved components to correspond with packing list and assembly documents.

Factory mark track indicating stud locations.

Factory assemble the following custom curved framing assemblies to greatest extent possible:

Retain paragraph above or below with the subparagraphs below to describe the custom assemblies.

Furnish custom curved framing assemblies for the following:

Complex Surfaces Framing Assembly: [As indicated on Drawings] [______].

Structural Dome Framing Assembly:

Diameter: [________] feet ([_______] mm).

Height: [________] feet ([_______] mm).

In-Fill Dome Framing Assembly:

Diameter: [________] feet ([_______] mm).

Height: [________] feet ([_______] mm).

[Roof] [Wall] Sheathing:  Plywood as specified in Section 06 16 00 "Sheathing;" pre-cut to match framing curvature.

Structural Curved-in-Plan Header:

Radius: [________] feet ([_______] mm).

Arc Length Along Radius: [________] feet ([_______] mm).

Structural Curved-in-Elevation Arch Assembly:

Radius: [________] feet ([_______] mm).

Arc Length Along Radius: [________] feet ([_______] mm).

Fabrication Tolerances:

Radius:  Plus or minus 1/8 inch in 16 feet (1:1536).

Radius Uniformity:  Plus or minus 1/16 in 32 inches (1:512).

Arc Length:  Plus or minus 1/8 inch (3 mm).

Plane:  Plus or minus 1/4 inch (6 mm).

Tangent Points: 1/16 within 16 inches (1:256).

Ellipses, Splines, and Other Multiple Radius Curves:  Same as above for single radius curves.

ACCESSORIES

Shop Primer:  Manufacturer's standard coil coating applied over metallic coating.

Touch-Up Primer:

Shop Primed Surfaces: Match shop primer.

Galvanized Surfaces: [SSPC Paint 20] [ASTM A 780].

Retain the following paragraph for LEED compliance.

Anti-Corrosive Paints: Maximum volatile organic compound content in accordance with GS GC-03.

Fasteners:  ASTM C 1513, self-drilling, self-tapping screws, corrosion resistant treated.

Anchors: [Power actuated,] [drilled expansion bolts,] [screws with sleeves,] [and] [________].

Welding Electrodes:  AWS D1.1/D1.1M and AWS D1.3/D1.3M.

Sealer Gaskets:  Closed-cell neoprene foam, 1/4 inch (6.4 mm) thick, selected from manufacturer's standard widths to match width of bottom track or rim track members.

SOURCE QUALITY CONTROL

Testing:  Owner will engage a qualified independent testing and inspecting agency to perform shop tests and inspections required by ICC IBC and to prepare test reports for Contractor and Architect for the following:

Framing materials.

Welding materials.

Shop welds.

EXECUTION

EXAMINATION

Site Verification of Conditions:

Verify that site conditions are acceptable for installation.

Correct unsatisfactory conditions prior to installation.

PREPARATION

Retain paragraph and subpragraphs below when sealing the gap between framing and concrete or masonry construction.

Install sealer gaskets where indicated on Drawings and the following:

Underside of wall bottom track.

Underside of rim track.

Top of foundation at stud and joist locations.

INSTALLATION - GENERAL

Install cold-formed metal framing in accordance with AISI S200, manufacturer's instructions, and approved shop drawings.

Install shop fabricated framing assemblies and anchor to supporting structure.

Install assemblies plumb, level, square, and true to line and located as indicated on Drawings.

Align adjacent panels to maintain uniform plane and joints between assemblies.

Retain the paragraph above for shop fabricated assemblies.  Retain the paragraph below for field installation of individual framing members.

Install cold-formed metal framing and accessories plumb, level, square, and true to line; located as indicated on Drawings, and with connections securely fastened.

Cut framing by sawing or shearing.

Secure framing members by fastening or welding.

Reinforce and brace framing as required to meet performance requirements for completed installation.

Install framing members in single piece lengths unless splice connections are indicated.

Retain the following paragraph only when insulation is installed within framing cavity.

Install insulation, specified in Section 07 21 00 "Thermal Insulation," in built-up framing members that are not accessible when framing is complete.

Touch up welds and damaged framing coatings with touch up primer to match shop applied coatings.

Installation Tolerances:

Position:  Plus or minus 1/8 inch (3 mm) from plan location.

Plumb:  Plus or minus 1/8 inch in 10 feet (1:960).

Level:  Plus or minus 1/8 inch in 10 feet (1:960).

Plane:  Plus or minus 1/4 inch in 25 feet (1:1270).

Joint Alignment:  Plus or minus 1/8 inch (3 mm) between adjacent panels.

INSTALLATION - WALLS

Install top and bottom track in position and alignment required to produce completed framing configuration indicated on Drawings.  Anchor track to substrate at maximum 24 inches (610 mm) on center.

Position studs in runners, spaced maximum [12 inches (305 mm)] [16 inches (406 mm)] [24 inches (610 mm)] on center.

Locate studs maximum 2 inches (51 mm) from door frames and abutting construction.

Seat load bearing studs against top and bottom track with maximum 1/8 inch (3 mm) gap between stud and track.

Use double studs on both sides of openings in partitions.

Install structural headers over openings.  Attach track to header.  Install studs from header to top runner.

Retain paragraph above for load-bearing walls.  Retain paragraph below for non-load-bearing walls.

Install horizontal track as header above openings in partitions. Install studs from header to top runner.

Install supplementary framing, blocking, and bracing required to support other components attached to framed wall.

[Screw attach] [Weld] framing components at intersections.

INSTALLATION - [JOIST] [RAFTER] [GIRT] [PURLIN] FRAMING

Install perimeter track, aligned and anchored to supporting substrate.  Anchor track to substrate at maximum 24 inches (610 mm) on center.

Install framing bearing on supporting frame, level, straight, and plumb; adjust to final position, brace, and reinforce.  Fasten framing to both flanges of track.

Install framing over supporting substrate with a minimum end bearing of 1-1/2 inches (38 mm).

Reinforce ends and bearing points of framing with web stiffeners, end clips, framing hangers, steel clip angles, or steel-stud sections as indicated on shop drawings.

Framing Spacing:  [12 inches (305 mm)] [16 inches (406 mm)] [19.2 inches (488 mm)] [24 inches (610 mm)] [As indicated].

Frame openings with built-up headers to support interrupted framing.

Install bridging at spacing indicated on shop drawings.  Fasten bridging to framing.

Fasten bottom flange of framing to load bearing walls.

INSTALLATION - CURVED FRAMING

Curved Walls:

Install top and bottom curved track, vertically aligned.  Anchor track to substrate at maximum 24 inches (610 mm) on center.

Install stud framing according to shop drawings and assembly documents.

Fasten stud framing to both flanges of top and bottom tracks.  Do not fasten stud framing to single deflection track.

Vaults:

Install straight track at spring line on both sides of vault.

Install curved stud framing spanning width of vault.

Retain the following paragraph and subparagraph when vaults are formed using stud framing only.

Stud Framing:

Space studs at maximum [8 inches (203 mm)] [12 inches (305 mm)] [16 inches (406 mm)] [24 inches (610 mm)] [[______] inches ([________] mm)] on center.

Retain the following paragraph and subparagraphs when vaults are formed using stud framing and supplemental framing.  Selecting this framing method may reduce the quantity and weight of framing required to complete the vault.

Studs and Supplemental Framing:

Space studs at maximum [32 inches (813 mm)] [48 inches (1220 mm)] [[______] inches ([________] mm)] on center.

Install hat channels longitudinally, spaced maximum [12 inches (305 mm)] [16 inches (406 mm)] [24 inches (610 mm)] [[______] inches ([________] mm)] on center.

[Screw attach] [Weld] framing components at intersections.

Domes:

The base of domes must be restrained by a structural tension ring to resist the outward force exerted by the dome.  The tension ring may be designed by the metal framing fabricator or the project structural engineer.  When design responsibility is delegated to fabricator, ensure design criteria is specified in the Performance / Design Criteria article in this section.

Install curved track at base of dome to receive stud ribs and curved track headers.  Secure track to perimeter tension ring in accordance with approved shop drawings.

Install single-piece length stud ribs and compression ring for arch length.

Space studs at maximum [16 inches (406 mm)] [24 inches (610 mm)] [[______] inches ([________] mm)] on center.

[Screw attach] [Weld] framing components at intersections.

Curved Headers:

Include curved headers for curved-in-plan beams.

Install stud and track framing assembled into curved-in-plan, load-bearing curved headers as indicated on shop drawings.

Space studs at maximum [16 inches (406.4 mm)] [24 inches (610 mm)] [[______] inches ([________] mm)] on center along length of box beams.

[Screw attach] [Weld] framing components at intersections, both sides.

Arch Assemblies:

Include arch assemblies for curved-in-elevation beams used individually or as part of a vault.

Install stud and track framing assembled into curved-in-elevation, load-bearing arch assemblies as indicated on shop drawings.

Space studs at maximum [16 inches (406.4 mm)] [24 inches (610 mm)] [[______] inches ([________] mm)] on center along length of arch assemblies.

[Screw attach] [Weld] framing components at intersections, both sides.

Knife Edge Assemblies:

Include knife edge assemblies where framing thickness is reduced to zero form a fine edge aesthetic treatment.  Knife edges may be used in plan or elevation and may be straight or curved.

Install angle framing, brackets, and miscellaneous sheet metal assembled into curved knife edge assemblies as indicated on shop drawings.

Space brackets at maximum [16 inches (406.4 mm)] [24 inches (610 mm)] [[______] inches ([________] mm)] on center along length of arch assemblies.

[Screw attach] [Weld] framing components at intersections, both sides.

CLEANING

On completion and verification of installation, remove rubbish, tools and equipment.

Waste Management:

Collect cold-formed metal framing surplus, scrap, and waste.

Clean collected materials of dirt, debris and other surface contamination.

Store collected materials in [appropriate onsite bins] [_____] for recycling.

FIELD QUALITY CONTROL

Testing:  Owner will engage a qualified independent testing and inspecting agency to perform field tests and inspections required by ICC IBC and to prepare test reports for Contractor and Architect for the following:

Framing materials.

Welding materials.

Field welds.

END OF SECTION